## Sheet1
Highest Frequency | Lowest Frequency | Highest Voltage | Lowest Voltage | PEAK GENERATION | LOWEST GENERATION | INTERRUPTED POWER | EQUIPMENT HEALTH | WEATHER CONDITION | FAULTS | TRANSMISSION LINE
50 | 49 | 349 | 300 | 4531.5 | 3784.7 | 414 | Nil | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.847 | 49.01 | 349 | 300 | 4482.5 | 3955.47 | Nil | Nil | RAINFALL | Nil | Nil
50.983 | 49.01 | 358 | 300 | 4579.6 | 3231.8 | Nil | POWER TRANSFORMER | RAINFALL | Nil | Nil
50.96 | 49.01 | 353 | 300 | 4552.76 | 3890.1 | 483.7 | CIRCUIT BREAKER | RAINFALL | YES | Osogbo/Ikeja-West 330kV line
50.82 | 49.01 | 355 | 300 | 4204.8 | 3929 | 373.8 | Nil | RAINFALL | YES | Shiroro/Katampe 330kV line
50.71 | 49.012 | 350 | 300 | 4275.24 | 3853.5 | 148.7 | INSULATOR | RAINFALL | Nil | Nil
50.629 | 49 | 347 | 300 | 4372.2 | 3989.5 | 24 | Nil | RAINFALL | Nil | Nil
50.551 | 49.029 | 345 | 300 | 4657.9 | 4104.72 | 231 | Nil | RAINFALL | YES | Benin/Ajaokuta 330kV line 2
50.72 | 49.479 | 360 | 300 | 4634.8 | 3533.9 | Nil | Nil | RAINFALL | Nil | Nil
51.14 | 49.145 | 352 | 300 | 4484.24 | 3329.8 | 92 | Nil | RAINFALL | YES | Onitsha/Alaoji 330kV line
51.22 | 49.02 | 349 | 300 | 4368.01 | 3579.41 | Nil | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.682 | 48.93 | 350 | 300 | 4336.64 | 3894.8 | 58.4 | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.819 | 48.86 | 352 | 300 | 4165.6 | 3708.9 | 179 | Nil | RAINFALL | YES | Osogbo/Ikeja-West 330kV lin
50.899 | 48.82 | 348 | 300 | 4187.6 | 3788.7 | Nil | CIRCUIT BREAKER | Nil | Nil | Nil
50.779 | 48.93 | 351 | 300 | 4218.8 | 3810.3 | Nil | Nil | RAINFALL | YES | Ihovbor/Benin 330kV line
50.69 | 49.01 | 350 | 300 | 4384.8 | 3809.9 | 1`056.8 | CIRCUIT BREAKER | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.85 | 49.18 | 354 | 300 | 4441.37 | 3723.4 | 365 | Nil | RAINFALL | YES | Kainji/Birnin-Kebbi 330kV line
50.89 | 48.915 | 351 | 300 | 4184.3 | 3893.2 | 41 | SHUNT REACTOR | RAINFALL | Nil | Nil
50.542 | 48.8 | 356 | 300 | 4113.5 | 3814.4 | 80.4 | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.759 | 48.79 | 355 | 300 | 3844.2 | 3274.69 | 180 | GENERATOR TRASFORMER | Nil | YES | Benin/Egbin 330kV line
50.497 | 48.7 | 353 | 300 | 3974.3 | 3453.2 | 18.4 | POWER TRANSFORMER | Nil | Nil | Nil
50.851 | 48.85 | 349 | 300 | 3949.8 | 3514.4 | Nil | Nil | RAINFALL | Nil | Nil
50.313 | 49.083 | 348 | 300 | 3620.8 | 3192.8 | 79 | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.788 | 48.7 | 353 | 300 | 3753.3 | 3213.98 | 352.2 | POWER TRANSFORMER | RAINFALL | YES | Shiroro/Mararaba 330kV line 1
50.785 | 48.77 | 350 | 300 | 3812.25 | 3187.4 | Nil | Nil | RAINFALL | Nil | Nil
50.528 | 48.77 | 349 | 300 | 3964.93 | 3693.9 | Nil | CIRCUIT BREAKER | Nil | Nil | Nil
50.575 | 48.49 | 349 | 300 | 4040.9 | 3860.6 | 86 | CIRCUIT BREAKER | Nil | YES | Egbin/Oke-Aro 330kV line 1
50.55 | 48.93 | 348 | 300 | 4262.97 | 3836.9 | Nil | Nil | Nil | Nil | Nil
50.6 | 49.01 | 346 | 300 | 4324.8 | 4029.7 | Nil | Nil | RAINFALL | Nil | Nil
50.48 | 48.88 | 347 | 300 | 4150.4 | 3770.78 | 58 | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.595 | 49.021 | 349 | 300 | 4188.5 | 3833.5 | 7.8 | POWER TRANSFORMER | Nil | Nil | Nil
50.478 | 49.083 | 350 | 300 | 4192.5 | 3975 | 323 | ISOLATOR | RAINFALL | YES | Omotosho/Ikeja West 330kV line
50.631 | 49.017 | 353 | 300 | 4169.7 | 3698.6 | 408.3 | Nil | RAINFALL | YES | Benin/Egbin 330kV line
50.592 | 49 | 360 | 300 | 4017.68 | 3714.9 | 367.1 | POWER TRANSFORMER | RAINFALL | YES | Ajah/Alagbon 330kV line
50.741 | 48.89 | 351 | 300 | 4069.5 | 3858.68 | Nil | Nil | Nil | Nil | Nil
50.454 | 49.02 | 355 | 300 | 4166.2 | 3777.3 | 320 | CIRCUIT BREAKER | RAINFALL | YES | Jos/Gombe 330kV lin
51.06 | 48.89 | 357 | 300 | 3803.6 | 3455.54 | Nil | Nil | Nil | Nil | Nil
50.846 | 49.01 | 356 | 300 | 4078.5 | 3438.8 | Nil | POWER TRANSFORMER | Nil | Nil | Nil
50.95 | 48.99 | 355 | 300 | 3900.37 | 3652.4 | 138 | CONTROL PANEL | Nil | Nil | Nil
50.37 | 49 | 355 | 300 | 4153.65 | 3753.5 | Nil | Nil | Nil | Nil | Nil
50.44 | 48.944 | 352 | 290 | 4164.4 | 3657.65 | 121.1 | CIRCUIT BREAKER | RAINFALL | YES | Jos/Gome 330kV line
50.52 | 49.016 | 363 | 300 | 4097.95 | 3731.3 | 156 | Nil | RAINFALL | YES | Alaoji/Ikot-Ekpene 330kV line 2
50.565 | 49.016 | 359 | 300 | 4168 | 3838 | 144.3 | POWER TRANSFORMER | RAINFALL | Nil | Nil
50.79 | 48.79 | 357 | 300 | 4130.3 | 3671.8 | 462.9 | CURRENT TRANSFORMER | RAINFALL | Nil | Nil
50.737 | 49.03 | 353 | 300 | 4101.57 | 3482.6 | 331.1 | Nil | RAINFALL | YES | Jebba G.S/Jebba T.S 330kV line 1
50.783 | 49.011 | 352 | 300 | 4130.8 | 3549.9 | Nil | ISOLATOR | RAINFALL | Nil | Nil
50.655 | 49.034 | 348 | 299 | 4181.57 | 3729.4 | 117.4 | ISOLATOR | RAINFALL | Nil | Nil
50.58 | 49.024 | 352 | 300 | 4078 | 3611.3 | 21.6 | SHUNT REACTOR | RAINFALL | Nil | Nil
50.485 | 49.034 | 353 | 300 | 4049.94 | 3742.2 | 270 | Nil | RAINFALL | YES | Shiroro/Mando 330kV line 2
50.592 | 49.149 | 352 | 300 | 4251.8 | 3255.3 | 260 | Nil | RAINFALL | YES | Kainji/Birnin-Kebbi 330kV line
50.619 | 49.03 | 350 | 300 | 4152.3 | 3381.3 | Nil | ISOLATOR | RAINFALL | Nil | Nil
50.533 | 49.014 | 349 | 299 | 4210.6 | 3844.5 | 55.4 | CIRCUIT BREAKER | Nil | Nil | Nil
50.383 | 49.01 | 347 | 295 | 4259.9 | 3793.1 | 348.6 | Nil | RAINFALL | YES | Ikeja-West/Omotosho 330kV line
50.692 | 49.072 | 352 | 296 | 4121.8 | 3487.5 | 117 | Nil | RAINFALL | Nil | Nil
50.619 | 49.013 | 355 | 295 | 4038.62 | 3356.7 | 137.9 | Nil | RAINFALL | YES | Shiroro/Katampe 330kV line
50.406 | 48.76 | 350 | 300 | 4218.27 | 3802.5 | 27.1 | ISOLATOR | Nil | Nil | Nil
50.37 | 49.01 | 349 | 300 | 4116.6 | 3811.6 | 134.7 | ISOLATOR | RAINFALL | Nil | Nil
50.29 | 49.022 | 365 | 300 | 4307.36 | 3585 | 85 | Nil | RAINFALL | YES | Olorunsogo/Ayede 330kV line
50.444 | 48.73 | 352 | 300 | 4329.89 | 3557.6 | Nil | Nil | Nil | Nil | Nil
50.391 | 48.82 | 348 | 300 | 4453.64 | 3838.8 | 30 | Nil | RAINFALL | Nil | Nil
50.318 | 49.081 | 349 | 300 | 4490.2 | 3534.3 | 294.9 | Nil | RAINFALL | YES | Ugwuaji/Makurdi 330kV line 2
50.432 | 49.08 | 348 | 300 | 4376.4 | 3882.14 | 186.4 | ISOLATOR | RAINFALL | YES | Odukpani/Ikot Ekepene 330kV line 1
50.42 | 49.191 | 350 | 300 | 4409.9 | 3940 | 114 | GENERATOR TRASFORMER | RAINFALL | YES | Gome/Damaturu 330kV line
50.64 | 49.036 | 363 | 300 | 4394.5 | 2700.2 | 329 | Nil | RAINFALL | YES | Ikeja West/Sakete 330kV line
51.282 | 49.256 | 350 | 300 | 4379.5 | 3444.3 | 335.3 | Nil | RAINFALL | Nil | Nil
50.576 | 49.152 | 354 | 300 | 4454.16 | 3055.5 | Nil | Nil | RAINFALL | Nil | Nil
50.548 | 49.09 | 367 | 300 | 4172.8 | 2999.9 | Nil | Nil | RAINFALL | YES | Ajaokuta/Lokoja 330kV line 1
51.178 | 49.01 | 362 | 300 | 4050.1 | 3136.3 | 37.1 | Nil | Nil | YES | Benin/Ajaokuta 330kV line 2
50.807 | 49.01 | 359 | 300 | 4119.9 | 3784.9 | 221 | Nil | RAINFALL | YES | Olorunsogo/Ayede 330kV line
50.53 | 49.01 | 357 | 300 | 4081.7 | 3346.2 | Nil | Nil | RAINFALL | YES | Egbin/Oke-Aro 330kV line 1
50.74 | 49.035 | 360 | 300 | 4472.07 | 3028.5 | Nil | CURRENT TRANSFORMER | RAINFALL | YES | Egbin/Oke-Aro 330kV line 1
51.108 | 49.054 | 352 | 300 | 4430.66 | 3786.5 | Nil | Nil | RAINFALL | Nil | Nil
50.468 | 49.032 | 353 | 300 | 4460.2 | 3811.8 | Nil | Nil | RAINFALL | Nil | Nil
50.582 | 49.056 | 370 | 300 | 4165.6 | 1705 | 103.8 | CAPACITIOR VOLTAGE TRANSFORMER | RAINFALL | YES | Alaoji/Owerri 132kV line 1
50.592 | 49.046 | 353 | 300 | 4355.2 | 3512.7 | Nil | CIRCUIT BREAKER | RAINFALL | YES | Egbin/Oke-Aro 330kV line 1
50.39 | 48.41 | 364 | 303 | 3718.1 | 36.7 | 762.5 | Nil | RAINFALL | YES | Kainji/Birnin-Kebbi 330kV line
51.114 | 49.065 | 348 | 298 | 4178.9 | 3304 | 383 | CIRCUIT BREAKER | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.744 | 48.98 | 357 | 300 | 4130.83 | 2533.8 | 832.4 | POWER TRANSFORMER | RAINFALL | YES | Osogbo/Ikeja-West 330kV line
51.56 | 49.203 | 351 | 300 | 4376.46 | 3668.7 | Nil | Nil | RAINFALL | Nil | Nil
50.781 | 49.233 | 360 | 300 | 4351.5 | 3538.9 | 289.6 | POWER TRANSFORMER | RAINFALL | YES | Sapele/Benin 330kV line 1
50.771 | 47.1 | 361 | 295 | 3788.7 | 181.7 | Nil | Nil | Nil | YES | Delta/Benin 330kV line
51.235 | 49.107 | 349 | 296 | 4572.4 | 3721.8 | 366 | CURRENT TRANSFORMER | RAINFALL | YES | Benin/Egbin 330kV line
50.919 | 49.083 | 350 | 290 | 4560.2 | 4012.9 | 103 | CURRENT TRANSFORMER | RAINFALL | Nil | Nil
50.855 | 49.529 | 365 | 294 | 4623.4 | 3015.5 | 199 | Nil | RAINFALL | YES | Ikeja-West/Akangba 330kV line 2
51.354 | 49.616 | 349 | 300 | 4722.1 | 3656.3 | Nil | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.779 | 49.598 | 352 | 300 | 4726.9 | 3537.9 | 546 | Nil | RAINFALL | YES | Olorunsogo/Ikeja-West 330kV line
50.977 | 49.53 | 353 | 300 | 4712.62 | 3473.3 | 388 | CURRENT TRANSFORMER | RAINFALL | YES | Ikot Ekpene/Ugwuaji 330kV line 3
51.002 | 49.2 | 360 | 300 | 4632.6 | 3862.1 | 590.1 | ISOLATOR | RAINFALL | YES | Osogbo/Ayede 330kV line
50.706 | 49.032 | 353 | 300 | 4431.4 | 3655.5 | 560 | CIRCUIT BREAKER | RAINFALL | YES | Ikot-Ekpene/Ugwuaji 330kV line 3
50.78 | 49.494 | 351 | 300 | 4449.2 | 3987 | 169 | ISOLATOR | RAINFALL | YES | Gombe/Damaturu 330kV line
50.488 | 49.226 | 351 | 300 | 4819 | 3633.5 | 334 | ISOLATOR | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.739 | 49.01 | 347 | 300 | 4895.5 | 3784.3 | 339.5 | INSULATOR | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.66 | 49.109 | 346 | 300 | 4945.94 | 3891.7 | Nil | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.647 | 49.01 | 351 | 300 | 4876.2 | 3814.5 | Nil | Nil | RAINFALL | Nil | Nil
50.71 | 49.187 | 347 | 300 | 4701.66 | 3974.1 | Nil | Nil | RAINFALL | Nil | Nil
50.852 | 49.252 | 344 | 300 | 4790.9 | 4227.2 | 53 | Nil | RAINFALL | YES | Benin/Asaba 330kV line
50.66 | 49.295 | 347 | 299 | 4759.23 | 4076.2 | 436 | POWER TRANSFORMER |  | YES | Onitsha/Alaoji 330kV line
50.41 | 48.86 | 347 | 300 | 4734.2 | 3737.3 | 882.2 | Nil | RAINFALL | YES | Osogbo/Ayede 330kV line
50.711 | 49.01 | 346 | 300 | 4803.6 | 3902.2 | 558.9 | CIRCUIT BREAKER | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.74 | 49.25 | 345 | 300 | 5042 | 4204.4 | 567.3 | ISOLATOR | RAINFALL | YES | Osogbo/Ikeja-West 330kV line
50.67 | 49.23 | 345 | 300 | 4900.13 | 3984.6 | Nil | Nil | Nil | Nil | Nil
50.51 | 49.208 | 348 | 300 | 4826.1 | 4009.2 | 187.2 | Nil | RAINFALL | YES | Olorunsogo/Ayede 330kV line
50.42 | 49.521 | 351 | 300 | 4531.3 | 3405.8 | 207.2 | Nil | RAINFALL | YES | Ajah/Alagbon 330kV line
50.823 | 49.668 | 349 | 300 | 4931.5 | 3755.3 | 182 | INSULATOR | RAINFALL | YES | Ihovbor/Benin 330kV line
50.979 | 49.696 | 349 | 300 | 4862.1 | 3760.8 | 273.2 | CAPACITIOR VOLTAGE TRANSFORMER | RAINFALL | YES | Ikot-Ekpene/Ugwuaji 330kV line 1
49.572 | 49.53 | 348 | 300 | 5151.4 | 3793.1 | 129 | POWER TRANSFORMER | RAINFALL | Nil | Nil
50.641 | 49.391 | 347 | 300 | 5044.42 | 3986.3 | 75 | Nil | RAINFALL | YES | Ikot-Ekpene/Ugwuaji 330kV line 2
50.781 | 49.496 | 348 | 298 | 4951.4 | 4018.8 | 198 | Nil | RAINFALL | YES | Osogbo/Ikeja-West 330kV line
50.048 | 49.412 | 354 | 300 | 4910.81 | 3739.6 | Nil | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.736 | 49 | 348 | 285 | 4873.4 | 4118.8 | 340.4 | Nil | RAINFALL | YES | Ikot-Ekpene/Ugwuaji 330kV line 2
50.546 | 49.126 | 345 | 290 | 4905.6 | 3164.5 | 616.3 | Nil | RAINFALL | YES | Nil
50.831 | 49.025 | 350 | 390 | 4872 | 4304.6 | 63 | Nil | RAINFALL | Nil | Nil
50.58 | 48.7 | 350 | 292 | 4679.3 | 3950.9 | 154 | CIRCUIT BREAKER | RAINFALL | YES | Ikot-Ekpene/Ugwuaji 330kV line 3
50.713 | 49.11 | 348 | 295 | 4703.8 | 4042.2 | 336 | NIL | RAINFALL | YES | Ikeja-West/Sakete 330kV line
50.735 | 48.7 | 350 | 299 | 4613.2 | 3787.3 | 298 | Nil | RAINFALL | YES | Egbin/Ikeja-West 330kV line
50.71 | 49.016 | 346 | 296 | 4806.8 | 4268.9 | 160 | SHUNT REACTOR | Nil | Nil | Nil
50.534 | 49.01 | 348 | 289 | 4846.96 | 4520.8 | 239 | CAPACITIOR VOLTAGE TRANSFORMER | RAINFALL | Nil | Nil
50.584 | 49.106 | 344 | 289 | 4879.3 | 4402.9 | 397 | CAPACITIOR VOLTAGE TRANSFORMER | Nil | YES | Osogbo/Ikeja-West 330kV line
50.647 | 49.052 | 346 | 292 | 4876.3 | 4405.7 | 173.1 | CAPACITIOR VOLTAGE TRANSFORMER |  | Nil | Nil
50.508 | 49.174 | 347 | 300 | 4915.58 | 4183.8 | 150.7 | Nil | RAINFALL | YES | Ihovbor/Benin 330kV line
50.655 | 49 | 352 | 300 | 4736.9 | 3968.1 | 212 | Nil | RAINFALL | YES | New-Haven/Ugwuaji 330kV line
50.86 | 49.288 | 355 | 295 | 4801.2 | 3921.1 | 341 | Nil | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.674 | 49.02 | 352 | 298 | 4833.34 | 3322.6 | 114 | Nil | Nil | Nil | Nil
50.751 | 49.33 | 346 | 297 | 4958.2 | 4260.5 | 54 | CIRCUIT BREAKER | Nil | Nil | Nil
50.45 | 49.14 | 345 | 294 | 4887.7 | 4427.2 | 335 | Nil | Nil | YES | Jebba G.S/Jebba T.S 330kV line 2
50.45 | 49.1 | 347 | 300 | 4910.1 | 4506 | 160.1 | Nil | RAINFALL | YES | Osogbo/Ikeja-West 330kV line
50.51 | 49.486 | 347 | 297 | 4951.7 | 4327.8 | 346 | Nil | RAINFALL | YES | Alaoji/Onitsha 330kV line
50.784 | 49.762 | 353 | 299 | 5096.75 | 4055.9 | 360.3 | Nil | RAINFALL | YES | Onitsha/New-Haven 330kV line
50.582 | 49.128 | 350 | 300 | 4735.13 | 4080.7 | 173.8 | ISOLATOR | RAINFALL | YES | Benin/Egbin 330kV line
50.643 | 49.01 | 353 | 300 | 4785.74 | 3901.71 | 141 | CAPACITIOR VOLTAGE TRANSFORMER | RAINFALL | Nil | Nil
50.667 | 49.241 | 351 | 300 | 4897.49 | 4317.13 | 30.6 | CIRCUIT BREAKER | RAINFALL | YES | Egbin/Ikeja-West 330kV line
50.654 | 49 | 347 | 229 | 4811.96 | 4407.84 | 262 | POWER TRANSFORMER | RAINFALL | YES | Ikot-Ekpene/Ugwuaji 330kV line 3
50.94 | 49.048 | 348 | 300 | 5029.17 | 4349.16 | 94 | Nil | RAINFALL | Nil | Lafia/Jos 330KV line 1 & 2
50.566 | 49.24 | 350 | 300 | 5100.95 | 4382.15 | 26.7 | ISOLATOR | RAINFALL | Nil | Nil
50.5 | 48.83 | 352 | 300 | 5061.23 | 3950.17 | 337 | Nil | RAINFALL | YES | Osogbo/Ayede 330kV line
50.772 | 49.061 | 349 | 300 | 5204.32 | 4366.76 | 130.5 | LIGHNING ARRESTER | RAINFALL | Nil | Nil
50.464 | 49.41 | 349 | 300 | 5094.66 | 3988.93 | 1018.2 | Nil | RAINFALL | YES | Osogbo/Ihovbor 330kV line
50.97 | 49.42 | 361 | 300 | 4438.28 | 2749.72 | 663.1 | Nil | RAINFALL | YES | Ajaokuta/Lokoja 330kV line 1
50.94 | 49.259 | 348 | 294 | 5043.71 | 3944.93 | 195 | POWER TRANSFORMER | RAINFALL | YES | Lafia/Jos 330kV line 2
51 | 49.188 | 345 | 300 | 4870.99 | 4391.77 | 436 | Nil | RAINFALL | YES | Shiroro/Mando 330kV line 1
50.769 | 49.173 | 345 | 300 | 4909 | 4199.65 | 554.5 | CIRCUIT BREAKER | RAINFALL | YES | Omotosho/Ikeja-West 330kV line
50.824 | 49.286 | 345 | 300 | 4985.64 | 4327.58 | Nil | Nil | Nil | Nil | Nil
50.467 | 49.19 | 344 | 298 | 5120.05 | 4430.03 | 157 | CAPACITIOR VOLTAGE TRANSFORMER | Nil | Nil | Nil
50.446 | 49.03 | 350 | 298 | 5103.14 | 4336.97 | Nil | CIRCUIT BREAKER | Nil | Nil | Nil
50.468 | 49.043 | 345 | 297 | 4944.98 | 4333 | Nil | Nil | Nil | Nil | Nil
50.02 | 49.094 | 343 | 297 | 4878.54 | 4811.27 | Nil | CIRCUIT BREAKER | RAINFALL | Nil | Nil
50.616 | 49.063 | 342 | 297 | 5034.49 | 4456.28 | 50 | CURRENT TRANSFORMER | RAINFALL | Nil | Nil
50.622 | 49.217 | 346 | 299 | 4850.83 | 3794.04 | 876.9 | ISOLATOR | RAINFALL | YES | Odukpani/Ikot-Ekpene 330kV line 1
50.749 | 49.365 | 352 | 300 | 5002.02 | 3201.43 | 0.7 | ISOLATOR | RAINFALL | YES | Ikeja-West/Akangba 330kV line 2 (
50.747 | 49.29 | 347 | 300 | 5032.64 | 3935.49 | 227 | Nil | Nil | YES | Onitsha/Alaoji 330kV line
50.535 | 49.05 | 343 | 296 | 4865.94 | 4490.69 | 466 | WAVE TRAP | RAINFALL | YES | Makurdi/Lafia 330kV line 1
50.695 | 49.108 | 343 | 295 | 4855.26 | 4228.37 | 601.5 | ISOLATOR | RAINFALL | YES | Shiroro/Katampe 330kV line
50.869 | 49.113 | 350 | 298 | 4979.79 | 3404.91 | 1170.7 | POWER TRANSFORMER | Nil | YES | Omotosho/Ikeja-West 330kV line
50.857 | 49.099 | 346 | 300 | 5052.46 | 4235.31 | 1727.8 | Nil | Nil | YES | Gwagwalada T/S
50.657 | 49.307 | 348 | 300 | 5114.96 | 4322.45 | 316.1 | POWER TRANSFORMER | Nil | YES | Kainji/Birnin Kebbi 330kV line
50.604 | 49.02 | 300 | 345 | 5092.41 | 4236.18 | 470.3 | CIRCUIT BREAKER | RAINFALL | YES | Ikot Ekpene/Ugwuaji 330kV line 2
50.635 | 49.152 | 349 | 300 | 5011.97 | 4420.31 | 256 | POWER TRANSFORMER | Nil | Nil | Nil
50.514 | 49.047 | 349 | 300 | 4955.83 | 4355.21 | 701 | CURRENT TRANSFORMER | Nil | YES | Ajah/Alagbon 330kV line
50.492 | 49.129 | 355 | 300 | 4583.83 | 4104.14 | 335.4 | CIRCUIT BREAKER | Nil | Nil | Nil
50.473 | 49.037 | 347 | 300 | 4648.82 | 4033.74 | 487 | POWER TRANSFORMER | Nil | YES | Benin/Ajaokuta 330kV line 2
50.39 | 49.097 | 345 | 300 | 4754.93 | 4240.65 | 393 | CAPACITIOR VOLTAGE TRANSFORMER | Nil | YES | Benin/Egbin 330kV line
50.303 | 49 | 346 | 300 | 4906.01 | 4350.11 | 636 | Nil | Nil | YES | Shiroro/Mando 330kV line 2
50.585 | 49.01 | 344 | 300 | 4935.1 | 4425.62 | 197 | Nil | Nil | YES | enin/Asaba 330kV line
50.358 | 48.011 | 351 | 300 | 4685.99 | 43.5 | Nil | CIRCUIT BREAKER | Nil | Nil | Nil
51.011 | 48.83 | 352 | 300 | 4964.66 | 3950.17 | 337 | Nil | RAINFALL | YES | Osogbo/Ayede 330kV line
50.772 | 49.091 | 346 | 300 | 4715.25 | 4083.53 | Nil | ISOLATOR | Nil | Nil | Nil
50.776 | 49.196 | 345 | 300 | 4706.76 | 4221.49 | Nil | Nil | Nil | YES | Ikot Ekpene/Ugwuaji 330kV line 2
50.409 | 49.106 | 345 | 300 | 4793.4 | 4378.3 | 33 | Nil | Nil | Nil | Nil
50.392 | 49.175 | 346 | 300 | 4585.04 | 4088.26 | 376 | Nil | Nil | YES | Nil
50.649 | 49.147 | 346 | 300 | 5015.91 | 4250.9 | 556.7 | Nil | Nil | YES | Shiroro/Mando 330kV line 1
50.689 | 48.84 | 345 | 386 | 4831.3 | 3783.59 | 736 | Nil | Nil | YES | Ikeja-West/Sakete 330kV line
50.85 | 49.11 | 346 | 300 | 4347.73 | 3694.07 | Nil | Nil | Nil | Nil | Nil
50.732 | 49.36 | 348 | 300 | 4357.53 | 3782 | 57 | Nil | Nil | YES | Omotosho/Ikeja-West 330kV line
50.71 | 49.376 | 347 | 300 | 4693.42 | 3868.67 | 90 | ISOLATOR | RAINFALL | YES | Benin/Asaba 330kV line
50.682 | 49.136 | 349 | 300 | 4691.59 | 4178.55 | 249 | ISOLATOR | Nil | YES | Ikot Ekpene/Ugwuaji 330kV line 3
50.776 | 49.067 | 348 | 300 | 4833.6 | 4024.65 | 799 | Nil | Nil | YES | Benin/Egbin 330kV line
50.72 | 49.318 | 349 | 300 | 4799.94 | 4026.65 | Nil | POWER TRANSFORMER | Nil | Nil | Nil
50.85 | 49.276 | 348 | 300 | 5090.7 | 4083.72 | 46 | Nil | Nil | YES | Delta/Benin 330kV line
50.662 | 49.01 | 349 | 300 | 4988.97 | 3854.46 | Nil | POWER TRANSFORMER | Nil | YES | Jebba/Ganmo 330kV line
50.661 | 49.15 | 350 | 290 | 4886.4 | 4032.24 | 93 | ISOLATOR | Nil | Nil | Nil
50.537 | 49.131 | 349 | 300 | 4731.09 | 4233.33 | 153 | ISOLATOR | Nil | YES | Onitsha/Alaoji 330kV line
19798
19798